FIRE SYSTEM SHUTDOWN CONFIRMATION FORM

| SITE DETAILS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Site Name |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |
|  | Postcode |  |  |  |  |  |  |
| PFA Number |  |  |  |  | Area affected |  |  |
| Water Off? | Yes No N/A |  |  |  |  |  |  |
| Sprinkler 4541 |  | Sprinkler 4515 |  | Fire Alarm 4512 |  |  | Riser 4510 |
| - NZ Standards 4541 & 4516 (Sprinkler Systems) require “OWNERS APPROVAL” and notification to NZ Fire Service, Insurance Council and building insurers prior to a fire sprinkler shutdown. - NZ Standard 4512 (Fire detection and alarm systems) requires “OWNERS APPROVAL”, and for owners to notify their insurers if the systems are isolated for more than 12 hours. |  |  |  |  |  |  |  |

| SHUTDOWN DETAILS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Shutdown Date |  |  |  | Reinstatement Date |  |  |
| Duration |  |  |  | Reinstatement Daily | Yes No |  |
| Reason For Shutdown |  |  |  |  |  |  |
| Maintenance |  | Damage | Building Works |  |  | Other (Please specify below): |

| Shutdown Requested by |  |  |  | Date |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Service Company Name |  |  |  |  |  |  |
| Owner/Representative: Please sign your acknowledgement of this fire system shutdown and return this form via email to fire-link@alarmnz.com |  |  |  |  |  |  |
| Insurance Company Notified: | Yes No N/A |  |  |  |  |  |
| Owner/Representative Name |  |  | Signature |  |  |  |

OWNER SAFETY PRECAUTIONS FOR FIRE SYSTEM SHUTDOWN

• Forbid smoking in the area affected by the fire system shutdown • Stop hazardous processes • Where sprinklers are installed ensure, they are operative • Ensure all smoke stop doors are closed • Ensure Alarm Company can re-establish evacuation sounders if required • Where other systems (lifts, air conditioning etc.) are affected by shutdown, manual controls need to be checked • Arrange to notify others who may use the building during the period of isolation • Ensure building occupiers know to dial 111 for FIRE • Detail FIRE WARDENS to patrol the affected area (one person per 1000m2) IN event of fire call 111. Fire Wardens should check extinguishers and hoses. • No HOT WORK by any parties whilst the fire system is shutdown • If your building has smoke detectors beware that any dust, heat & fumes from building works may activate your alarm • Arrange a procedure with the contractor to get system restored quickly in emergency • Ensure telephone operator and fire watch know how to call fire brigade to your premises • Notify section heads of the need for special care and of the purpose and responsibility of fire watch • Discuss with your insurer and contractor the provisions of a temporary water supply Note: If you are unaware or do not approve of this shutdown, please contact fire-link@alarmnz.com immediately